**Bend Project Field Notes**

**17-19 December 2014**

**12/17/2014**

Took care of monitors south of Bend.

10am K11422 Cascade Middle School

* K11342 – name retrieved data under, using k18422 did not work
* Wind vane gone but found about 30 ft away on the roof – BAD WIND DATA

11;45am Sunriver Smoke 16

* No power
* Downloaded data successfully

1:30pm Sunriver Airport – WX10

* Ok to leave over the winter
* Downloaded data
* Changed batteries
* Set time for GMT

2:30pm Lava Falls Smoke 65

* Error downloading data, but some of it was there
* Extension cord bitten into

4pm Lava Lookout – retrieved camera

**12/18/2014**

Robert home with sick son. Working by myself. Took care of monitors to the north of Bend.

Wx Station dta at: c:\specware

E-Sampler data: c:\users\smoneill\My Documents

K11342

* c:\users\smoneill\My Documents\K11342
* 2 csv files: 10/8/1014-10/23/2014, 11/17-2014 – 12/17/2014
* where is 10/23/2014 – 11/17/2014??

Smoke 16

* data 10/8/2014 – 11/17/2014
* 11/17/2014 – power outage

Smoke 65

* data 10/23/2014 – 12/17/2014

checking Wx data on computer

* no data for Wx9 – Wx9 not deployed, ok
* all other 5 stations had data Oct 8 – Oct 22, 2014
* Wx10 never downloaded from datalogger

8:45am Wx10

* 2 files/datasets on datalogger
	+ 7/16/2011 – 10/23/2014
	+ 7/16/2011 – 12/17/2014
	+ downloaded both datasets
	+ 10/23/2014 – 12/17/2014 on computer and datalogger reset

talk with Ben Duda – Cameras

Bridges Boys Academy – ok to leave Wx station over the winter and spring

Cascade Academy – ok to leave Wx station over the winter and spring

Miller Elementary – ok to leave Wx station over the winter and spring

Tetherow Golf – never called me back, so removed monitor (WX6)

Lost in Bend for an hour after fedexing 8 boxes

Picked up camera from Henkel Lookout at the Bend SO

2pm – Sisters SO – downloaded data

3pm – Redmond RAC – Smoke 215

* boxed and shipped Smoke 215
* it had fallen over
* busted anemometer

5pm – Bridges Boys Academy – downloaded data

5:30pm – Cascade Middle School – downloaded data

* datalogger in puddle!
* Still works
* Started download again

**12/19/2014 – Took care of monitors in Bend**

* More downloading of data – Miller Elementary
* Packed up Wx6 at Tetherow Golf
* Packed up E-Sampler at SO (K18099)
* Shipped boxes approx. 4:30pm
* 7pm flight out of Redmond