**Bend, Oregon Field Study Notes – March 2015**

Who: Rick Graw, Bret Anderson, Susan O’Neill, Steve Burns

**20150323**

Susan & Bret – Downloaded and checked anemometer orientation and set averaging time to 15 min at: Sisters, Bridges Boys Academy, Cascade Academy

Rick contacted Miller Elementary and camera location contacts (Ben Duda – Henkel)

**20150324**

Susan & Steve - warehouse

Sunriver: removed met station (Susan & Steve), (RX10) installed Smoke 13 (Rick & Bret). Need to check RX10 and get fixed. Stephanie and her husband are interested in Watchdog station info.

Susan & Steve: Lava Falls: Installed AirFire E-Sampler (NEED SERIAL NUMBER). AIRSIS satellite box300134010916500

Susan & Steve: Miller Elementary: downloaded data, checked anemometer orientation, set averaging time to 15 min

Rick & Bret: Installed cameras at Lava Lookout and Henkel Lookout

Boxes at the warehouse:

AirFire E-Sampler: 1 green pelican case, 1 cardboard box

Smoke 13: 2 green pelican cases, 1 golf case

2 AirFire golf pelican cases

2 Met Stations (WX3, WX7)

one more AirFire green pelican case?

**20150325**

Installed Smoke 11 at Miller Elementary. 15 min averaging period.

Went out to warehouse