4/23/2015

Lava Falls E-Sampler (K18099)

* Time had been 4/24/2015 2am on the instrument
* Real time was 1515 pdt (2215 GMT) – reset clock to 2215 GMT
* Re-oriented anemometer, so about 15 min of data might be bad while I did this.
* Checked that averaging time was 15 min.
* Checked other setup parameters too and everything ok.
* Sheriff was called …. Colin drove out

Sunriver Airport E-Sampler

* Checked all settings – time and sampling period were good (GMT, 15 min respectively)
* Checked wind sensor orientation

4/24/2015

Deployed Smoke 65 at Cascade Middle School

* Two connections were not set in the satellite box
* The purge valve was closed and giving a solenoid error